## Node Health Report
Status | Group | Device | Availability | Interface Availability | %CPU | 95th% CPU | Max %CPU | CPU Exc. | %Mem Free | 95th% Mem Used | Max %Mem Used | %Mem Util | %IO Mem Free | 95th% IO Mem Used | Max %IO Mem Used | %IO Mem Util | %Swap Mem Free | 95th% Swap Mem Used | Max %Swap Mem Used | %Swap Mem Util | Conditions | Actions
green | Branches | vienna-server1 | 100 | 100 | 2.6956 | 3.1161 | 86.7157 | 96 | 84.7632 | 16.413 | 17.3008 | 15.2368
orange | Branches | gc-router1 | 99.951 | 100 | 5.2044 | 13.3861 | 22.8721 | 2 | 53.6039 | 44.2956 | 58.3549 | 46.3961 | 87.7278 | 12.2571 | 12.3144 | 12.2722 |  |  |  |  | 1: Device has low availability | 1: Investigate causes for low availability
orange | Branches | gc-switch1 | 99.953 | 63.245 | 5.2634 | 6 | 10.4468 | 0 | 57.8169 | 42.1616 | 42.2644 | 42.1831 | 31.9735 | 67.8314 | 68.5541 | 68.0265 |  |  |  |  | 1: Device has low availability 2: Device has very low interface availability | 1: Investigate causes for low availability 2: Investigate causes for very low interface availability
orange | Branches | meatball | 99.951 | 100 | [16 empty] | 1: Device has low availability | 1: Investigate causes for low availability
orange | Branches | midgard | 99.945 | 63.235 | 5.2996 | 6 | 10.4419 | 0 | 57.817 | 42.1616 | 42.2359 | 42.183 | 31.975 | 67.8314 | 68.5541 | 68.025 |  |  |  |  | 1: Device has low availability 2: Device has very low interface availability | 1: Investigate causes for low availability 2: Investigate causes for very low interface availability
orange | Brisbane | bne-router1 | 99.941 | 100 | 5.1533 | 13.4114 | 22.1738 | 1 | 53.5772 | 44.2962 | 57.5371 | 46.4228 | 87.7279 | 12.2571 | 12.3144 | 12.2721 |  |  |  |  | 1: Device has low availability | 1: Investigate causes for low availability
orange | Brisbane | bne-server1 | 99.924 | 100 | 8.4637 | 18.0857 | 84.9413 | 132 | 35.0506 | 73.0204 | 75.6623 | 64.9494 |  |  |  |  | 96.0049 | 5.9113 | 6.096 | 3.9951 | 1: Device has low availability | 1: Investigate causes for low availability
orange | Brisbane | bne-switch1 | 99.953 | 63.252 | 5.156 | 5.9771 | 10.0716 | 0 | 57.817 | 42.1618 | 42.2485 | 42.183 | 31.9748 | 67.8314 | 68.5541 | 68.0252 |  |  |  |  | 1: Device has low availability 2: Device has very low interface availability | 1: Investigate causes for low availability 2: Investigate causes for very low interface availability
red | Charlotte | char-router1 | 99.894 | 99.999 | 5.2158 | 13.1992 | 22.7324 | 3 | 53.5956 | 44.2895 | 58.1477 | 46.4044 | 87.7279 | 12.2571 | 12.3144 | 12.2721 |  |  |  |  | 1: Device has very low availability | 1: Investigate causes for very low availability
orange | Charlotte | char-server1 | 99.923 | 100 | 8.9653 | 19.8623 | 87.5047 | 191 | 34.9948 | 72.4035 | 75.1738 | 65.0052 |  |  |  |  | 96.0049 | 5.9113 | 6.096 | 3.9951 | 1: Device has low availability | 1: Investigate causes for low availability
red | Charlotte | char-switch1 | 99.803 | 63.191 | 5.2923 | 6 | 11.7417 | 0 | 57.8166 | 42.1621 | 42.2403 | 42.1834 | 31.9747 | 67.8314 | 68.5541 | 68.0253 |  |  |  |  | 1: Device has very low availability 2: Device has very low interface availability | 1: Investigate causes for very low availability 2: Investigate causes for very low interface availability
yellow | DataCenter | demo | 99.999 | 99.999 | 14.4732 | 35.4159 | 87.1502 | 704 | 39.8522 | 82.2264 | 84.8917 | 60.1478 | [8 empty] | 1: Device has moderate CPU utilisation | 1: Investigate causes for moderate CPU utilisation
orange | DataCenter | eris | 99.967 | 100 | 7.3575 | 27.7905 | 94.0593 | 1347 | 27.8864 | 73.8208 | 74.6452 | 72.1136 | [8 empty] | 1: Device has low availability | 1: Investigate causes for low availability
green | DataCenter | hel | 99.999 | 100 | 0.10939 | 0.27296 | 66.1163 | 3 | 37.9522 | 70.6925 | 78.4399 | 62.0478
red | DataCenter | odem | 99.844 | 100 | 1.8465 | 2.9175 | 39.6679 | 3 | 21.1059 | 83.6566 | 87.5039 | 78.8941 |  |  |  |  | 84.7261 | 17.8609 | 18.1809 | 15.2739 | 1: Device has very low availability 2: Device has low main memory free 3: Device has moderate Swap Memory Utilisation | 1: Investigate causes for very low availability 2: Investigate causes for low free main memory 3: Investigate causes for moderate Swap Memory
green | DataCenter | odin | 100 | 100 | 4.8698 | 16.2425 | 94.7174 | 563 | 45.2745 | 61.3476 | 63.4966 | 54.7255
red | DataCenter | odr | 99.897 | 75.03 | 1.4601 | 3.9042 | 23.4045 | 2 | 81.6807 | 18.3866 | 18.4451 | 18.3193 | [8 empty] | 1: Device has very low availability 2: Device has very low interface availability | 1: Investigate causes for very low availability 2: Investigate causes for very low interface availability
red | DataCenter | thor | 99.86 | 100 | 7.5619 | 10.4699 | 85.8179 | 38 | 35.2318 | 72.7318 | 75.3142 | 64.7682 |  |  |  |  | 96.0056 | 5.9113 | 6.096 | 3.9944 | 1: Device has very low availability | 1: Investigate causes for very low availability
orange | Melbourne | mel-switch1 | 99.945 | 63.243 | 5.2424 | 6 | 10.4473 | 0 | 57.8167 | 42.162 | 42.2364 | 42.1833 | 31.9745 | 67.8314 | 68.5541 | 68.0255 |  |  |  |  | 1: Device has low availability 2: Device has very low interface availability | 1: Investigate causes for low availability 2: Investigate causes for very low interface availability
orange | MexicoCity | mex-router1 | 99.944 | 100 | 5.205 | 13.1872 | 22.8149 | 2 | 53.5974 | 44.2947 | 58.3061 | 46.4026 | 87.7279 | 12.2571 | 12.3144 | 12.2721 |  |  |  |  | 1: Device has low availability | 1: Investigate causes for low availability
red | MexicoCity | mex-server1 | 99.855 | 100 | 7.4897 | 11.1691 | 82.7446 | 54 | 35.1553 | 72.4 | 76.2121 | 64.8447 |  |  |  |  | 96.0064 | 5.9113 | 6.096 | 3.9936 | 1: Device has very low availability | 1: Investigate causes for very low availability
orange | MexicoCity | mex-switch1 | 99.936 | 63.239 | 5.2744 | 6 | 10.5127 | 0 | 57.8167 | 42.1616 | 42.2356 | 42.1833 | 31.9747 | 67.8314 | 68.5541 | 68.0253 |  |  |  |  | 1: Device has low availability 2: Device has very low interface availability | 1: Investigate causes for low availability 2: Investigate causes for very low interface availability
orange | NMIS8 | eight | 100 | 100 | 21.6004 | 30.3354 | 41.805 | 1113 | 80.6735 | 21.647 | 26.1011 | 19.3265 | [8 empty] | 1: Device has high CPU utilisation | 1: Investigate causes for high CPU utilisation
orange | NMIS8 | nine | 100 | 100 | 20.052 | 31 | 100 | 985 | 40.2355 | 64.3629 | 68.8407 | 59.7645 | [8 empty] | 1: Device has high CPU utilisation | 1: Investigate causes for high CPU utilisation
red | NMIS8 | wmi-hel | 79.892 | [17 empty] | 1: Device has very low availability | 1: Investigate causes for very low availability
orange | Open-AudIT | asgard | 99.998 | 100 | 5.2738 | 13.1012 | 25.8045 | 16 | 53.5993 | 44.2886 | 58.8584 | 46.4007 | 87.7279 | 12.2571 | 12.3144 | 12.2721 |  |  |  |  | 1: Device has low availability | 1: Investigate causes for low availability
red | Open-AudIT | uburnto | 99.895 | 100 | 2.3117 | 3 | 36.7571 | 3 | 91.4284 | 8.86 | 27.4414 | 8.5716 |  |  |  |  | 99.9997 | 0 | 0.17582 | 0.00028559 | 1: Device has very low availability | 1: Investigate causes for very low availability
red | Oxford | emea-router1 | 99.892 | 100 | 5.1584 | 13.387 | 22.8705 | 2 | 53.59 | 44.2957 | 57.4858 | 46.41 | 87.7279 | 12.2571 | 12.3144 | 12.2721 |  |  |  |  | 1: Device has very low availability | 1: Investigate causes for very low availability
orange | Oxford | emea-server1 | 99.905 | 100 | 8.1312 | 17.5208 | 87.5406 | 106 | 34.8489 | 72.82 | 75.6655 | 65.1511 |  |  |  |  | 96.0063 | 5.9113 | 6.096 | 3.9937 | 1: Device has low availability | 1: Investigate causes for low availability
orange | Oxford | emea-switch1 | 99.953 | 63.253 | 5.2425 | 6 | 10.4453 | 0 | 57.8168 | 42.1616 | 42.2621 | 42.1832 | 31.9733 | 67.8314 | 68.5541 | 68.0267 |  |  |  |  | 1: Device has low availability 2: Device has very low interface availability | 1: Investigate causes for low availability 2: Investigate causes for very low interface availability
red | San_Francisco | sf-router1 | [18 empty] | 1: No health statistics available | 1: Check the device's SNMP configuration and Collect setting
red | San_Francisco | sf-server1 | 99.859 | 100 | 7.5824 | 10.6219 | 85.8453 | 38 | 35.2166 | 72.8431 | 75.3142 | 64.7834 |  |  |  |  | 96.0057 | 5.9113 | 6.096 | 3.9943 | 1: Device has very low availability | 1: Investigate causes for very low availability
red | San_Francisco | sf-switch1 | 99.829 | 99.829 | [16 empty] | 1: Device has very low availability | 1: Investigate causes for very low availability
green | Toronto | toro-server1 | 100 | 100 | 1.3061 | 2 | 85.9404 | 6 | 91.8523 | 8.7415 | 9.1551 | 8.1477
orange | bnelab | bnelab-p3 | 100 | 100 | 28.8938 | 29.5855 | 32.9337 | 2015 | 34.9012 | 65.0884 | 65.2345 | 65.0988 | 79.4713 | 20.5026 | 20.6059 | 20.5287 |  |  |  |  | 1: Device has high CPU utilisation | 1: Investigate causes for high CPU utilisation
green | bnelab | vyos-ce1 | 100 | 100 | 5.823 | 8.1081 | 81.0039 | 8 | 79.6138 | 20.8112 | 21.433 | 20.3862
green | bnelab | vyos-ce2 | 100 | 100 | 5.328 | 8.0319 | 74.2141 | 10 | 79.7347 | 20.5648 | 20.9846 | 20.2653
green | bnelab | vyos-p1 | 100 | 100 | 7.7827 | 10.9002 | 79.1561 | 13 | 79.5521 | 20.7648 | 21.2617 | 20.4479
green | bnelab | vyos-p2 | 100 | 100 | 7.717 | 10.9279 | 81.7352 | 13 | 79.489 | 20.7795 | 21.352 | 20.511
green | bnelab | vyos-p3 | 100 | 100 | 7.4566 | 10.7175 | 84.0532 | 10 | 79.7218 | 20.4744 | 21.0233 | 20.2782
orange | bnelab | vyos-p4 | 99.986 | 100 | 7.7419 | 11.1484 | 75.9262 | 19 | 80.076 | 20.1246 | 20.7241 | 19.924 | [8 empty] | 1: Device has low availability | 1: Investigate causes for low availability
orange | bnelab | vyos-pe1 | 99.998 | 100 | 7.461 | 10.9076 | 80.716 | 19 | 79.7452 | 20.4235 | 20.9384 | 20.2548 | [8 empty] | 1: Device has low availability | 1: Investigate causes for low availability
green | bnelab | vyos-pe2 | 100 | 100 | 7.2826 | 10.4306 | 84.1817 | 19 | 80.6672 | 19.4846 | 20.07 | 19.3328
green | bnelab | vyos-rr1 | 100 | 100 | 7.8476 | 11.2955 | 85.7674 | 15 | 79.1198 | 21.0467 | 21.6209 | 20.8802
green | bnelab | vyos-rr2 | 100 | 100 | 6.7283 | 9.7719 | 79.7724 | 14 | 80.4215 | 19.7508 | 20.2257 | 19.5785
orange | bnelab | bnelab-p4 | 100 | 100 | 28.8822 | 29 | 31.4148 | 2015 | 34.9059 | 65.0831 | 65.2807 | 65.0941 | 79.471 | 20.5026 | 20.6044 | 20.529 |  |  |  |  | 1: Device has high CPU utilisation | 1: Investigate causes for high CPU utilisation
red | bnelab | vrouter_host | 100 | 100 | 50.3706 | 55.6404 | 92.8143 | 2016 | 19.9432 | 80.1231 | 81.3409 | 80.0568 | [8 empty] | 1: Device has VERY HIGH CPU utilisation 2: Device has low main memory free | 1: Investigate causes for VERY HIGH CPU utilisation 2: Investigate causes for low free main memory
orange | bnelab | bnelab-p1 | 100 | 100 | 28.6023 | 29 | 30.965 | 2015 | 34.8983 | 65.0878 | 65.2513 | 65.1017 | 79.4709 | 20.5026 | 20.6067 | 20.5291 |  |  |  |  | 1: Device has high CPU utilisation | 1: Investigate causes for high CPU utilisation
orange | bnelab | bnelab-rr1 | 99.997 | 100 | 29.7072 | 31 | 35.8904 | 2015 | 34.2973 | 65.6428 | 65.9029 | 65.7027 | 76.902 | 22.2916 | 23.597 | 23.098 |  |  |  |  | 1: Device has low availability 2: Device has high CPU utilisation | 1: Investigate causes for low availability 2: Investigate causes for high CPU utilisation
orange | bnelab | bnelab-p2 | 100 | 100 | 28.9927 | 30 | 33.2411 | 2015 | 34.6834 | 65.2973 | 65.4647 | 65.3166 | 73.8061 | 26.1484 | 26.2976 | 26.1939 |  |  |  |  | 1: Device has high CPU utilisation | 1: Investigate causes for high CPU utilisation